Overview

1. Context and Scope

Cybersecurity in AI-Based Medical Devices:

Problem: AI-based medical devices (e.g., insulin pumps, imaging systems) face rising cybersecurity threats, such as ransomware attacks (e.g., WannaCry), which disrupt healthcare and endanger patient safety.

Challenges:

- Evolving technology (AI, machine learning) creates unique vulnerabilities.

- Current frameworks inadequately address lifecycle risks like data poisoning or outdated software updates.

Goal: Strengthen regulatory approaches to ensure AI-based devices remain safe and secure while fostering innovation.

2. Hard Law vs Soft Law in Regulatory Frameworks

Hard Law:

Binding legal instruments, such as directives, regulations, and statutes. Examples:

EU:

1. Medical Device Regulation (MDR) and In Vitro Diagnostic Regulation (IVDR):

- Set binding safety and performance standards for devices.

- Include cybersecurity requirements (e.g., Annex I demands risk management, state-of-the-art IT security).

2. NIS2 Directive: Imposes risk management and incident reporting obligations on critical healthcare infrastructure, including device manufacturers.

3. Draft AI Act: Horizontal legislation classifying high-risk AI systems (including AI-based medical devices) with additional safety and cybersecurity measures.

4. Cybersecurity Act: Establishes voluntary certification schemes for device manufacturers.

US:

1. Food, Drug, and Cosmetic Act (FD&C Act):

- Section 360n–2 specifies mandatory cybersecurity measures for devices.

2. CIRCIA (2022): Requires incident reporting for critical infrastructure, indirectly covering medical devices.

Soft Law:

Non-binding guidelines and recommendations. Examples:

EU:

MDCG Cybersecurity Guidance (2019): Explains how MDR/IVDR safety requirements apply to cybersecurity but does not address AI-specific challenges.

US:

1. FDA Cybersecurity Guidance (2005–2023): Continuous updates on cybersecurity best practices (e.g., pre-market submissions, post-market surveillance).

2. FDA AI/ML Action Plan (2021): Details regulatory approaches for AI-based software as a medical device (SaMD), emphasizing security.

3. EU Legal Framework

Medical Device Regulation (MDR) and In Vitro Diagnostic Regulation (IVDR):

- Central hard laws regulating device safety and performance.

- Include cybersecurity as part of safety obligations, requiring manufacturers to:

1. Manage cybersecurity risks throughout the lifecycle.

2. Implement state-of-the-art IT security measures (Annex I).

- Flexible, principle-based rules allow adaptation to evolving technology.

Draft AI Act:

1. Introduces obligations for high-risk AI systems, including:

- Risk management and accountability for AI developers.

- Security measures to prevent manipulation or misuse.

2. Devices certified under the Cybersecurity Act benefit from presumptions of conformity.

NIS2 Directive:

1. Focuses on critical infrastructure, including healthcare.

2. Requires device manufacturers to:

- Report cyber incidents within 24 hours.

- Implement robust cybersecurity risk management.

Key Gaps:

1. Limited AI-specific guidance (e.g., no MDCG equivalent to FDA AI/ML frameworks).

2. Decentralized oversight by notified bodies limits consistency in cybersecurity enforcement.

4. US Legal Framework

1. Food, Drug, and Cosmetic Act (FD&C Act):

1. Governs medical device safety through risk-based classification:

Class I: Low risk (e.g., bandages).

Class II: Moderate risk (e.g., X-ray machines).

Class III: High risk (e.g., pacemakers).

2. Section 360n–2 mandates device-specific cybersecurity standards, including:

- Risk management plans.

- Post-market vulnerability disclosures.

2. 510(k) Pathway:

The 510(k) pathway—which may apply to class I, II, and III medical devices for which pre-market approval is not indicated—allows the evaluation procedure to be based on comparing a device to one or more similar legally marketed devices (predicate device).

Criticism:

- Security of former devices is likely to have different and lower cybersecurity standards, this may lower security standards for AI-based medical devices.

3. CIRCIA:

- Imposes incident reporting requirements for cyber incidents for critical infrastructure.

Key Strengths:

- FDA’s centralised approval ensures uniform oversight across all states.

- Frequent updates to FDA guidance adapt quickly to emerging threats.

5. Comparative Analysis

Regulatory Approach:

EU:

Principle-Based:

- Broad principles focus on safety, flexibility, and technology neutrality.

- Specificity delegated to harmonized standards and notified bodies.

- Limited cybersecurity and AI-specific guidance.

US:

Rule-Based:

- Detailed, prescriptive rules issued by the FDA.

- Continuous updates ensure alignment with technological advances.

Oversight:

EU:

1. Decentralized: Notified bodies and national health authorities share oversight.

2. Risk: Fragmented enforcement undermines consistency.

US:

1. Centralized: FDA oversees compliance throughout the device lifecycle.

2. Strength: Continuous post-market monitoring ensures real-time adjustments.

AI Governance:

EU:

- Draft AI Act creates the first horizontal AI regulation globally.

Gaps: No sector-specific pathways for AI-based medical devices.

US:

- Executive orders provide AI safety and security guidance but lack binding federal laws.

Gaps: AI governance heavily relies on FDA interpretation.

A predicate device is a medical device that is legally marketed in the United States and is used as a point of comparison for new medical devices seeking FDA approval.