Standard and guidance doc

IEC 80001-5-1

Sets up guidance for:

  - Security activities in the product lifecycle

  - Implementation of connected medical devices

  - Practical framework for cybersecurity implementation

  - Mapping security practices across different development stages

ISO 14971

Sets up guidance for:

  - Risk management definition

  - Risk assessment methodology

  - Safety risk identification

  - Risk evaluation process

  - Defining risk as potential "physical injury or damage to health"

IEC 62304

Sets up guidance for:

  - Software life-cycle processes

  - Software development stages

  - Software maintenance procedures

  - Software risk management

  - Upcoming version expected to include specific cybersecurity provisions

MDCG 2019-16

Sets up guidance for:

  - Cybersecurity management in medical devices

  - "Defense-in-depth" security strategy

  - Eight core cybersecurity practices:

    - Security management

    - Security requirements specification

    - Secure by design principles

    - Secure implementation

    - Security verification and validation testing

    - Management of security-related issues

    - Security update management

    - Security guidelines

AAMI TIR57:2016

Sets up guidance for:

  - Principles of medical device security

  - Risk management specific to device security

  - Identifying security risks

  - Evaluating security threat levels

IMDRF Principles and Practices

Sets up guidance for:

  - International best practices in medical device cybersecurity

  - Principles for managing cybersecurity across different regulatory environments

  - Framework for understanding cybersecurity risks in medical devices

## Regulations

## Medical Device Regulation (MDR) 2017/745

Purpose: Regulates medical devices in the European Union

Key Focus:

  - Emphasizes clinical evaluation

  - Requires comprehensive risk management

  - Mandates post-market surveillance activities

  - Introduces explicit cybersecurity requirements

In Vitro Diagnostic Medical Device Regulation (IVDR) 2017/746

Purpose: Specifically regulates in vitro diagnostic medical devices

Similar characteristics to MDR:

  - Comprehensive risk-benefit analysis

  - Lifecycle-long risk management

  - Cybersecurity considerations

Guidance Documents (Not Regulations, but Important)

- MDCG 2019-16: Guidance on Cybersecurity for medical devices

- AAMI TIR57:2016: Principles for medical device security—Risk management

- IMDRF Principles and Practices for Medical Device Cybersecurity

## Regulatory Context

### Major Legislative Changes

The EU is transitioning from three former directives to two new regulations:

  - Medical Device Regulation (MDR) 2017/745

  - In Vitro Diagnostic Medical Device Regulation (IVDR) 2017/746

### Cybersecurity Emphasis

- The new regulations explicitly address cybersecurity requirements

- Increased regulatory oversight, especially for medical software

- More stringent requirements due to digital transformation in healthcare

## Key Challenges for Manufacturers

- Complexity of Regulatory Framework

- Difficult to identify and understand all applicable provisions

- Requirements are spread across different document sections

- Cybersecurity Implementation Challenges

- Integrating cybersecurity into risk management processes

- Implementing security actions in design and development

- Need for in-depth cybersecurity knowledge

## Four Core Concepts of Cybersecurity Compliance

- Risk Relationship Between Safety and Security

Identified three main risk types:

  - Security risk without safety impact

  - Security risk with safety impact

  - Safety risk without security relation

- Aligned Safety and Security Risk Management Processes

- Recommended separate but interconnected processes

- Ensure comprehensive risk evaluation

- Balance between safety and security controls

- Secure Design and Development Lifecycle

- Perform threat modeling

- Derive security requirements

- Extend existing development processes with cybersecurity activities

- Post-Market Cybersecurity Activities

- Proactive approach to surveillance

- Formal vulnerability disclosure process

- Plan for recovery after cybersecurity incidents

## Recommendations

### For Regulatory Authorities

- Develop harmonized standards

- Clarify expectations around cybersecurity requirements

- Adopt standards like IEC 80001-5-1

### For Manufacturers

- Improve cybersecurity culture

- Align design processes with new requirements

- Implement comprehensive risk management

Current cybersecurity challenges for medical device manufacturers include:

- Identifying and Understanding Regulatory Requirements

- The EU regulatory framework is complex, with cybersecurity requirements spread across different sections of documents

- Manufacturers struggle to identify and comprehend all applicable provisions in the new regulations

- Risk Management Challenges

- Manufacturers have difficulties addressing cybersecurity aspects within their existing risk management processes

- Integrating security actions into design and development processes is challenging

- The traditional safety risk management approach (focused on physical injury) needs to be expanded to include broader cybersecurity risks

- Expertise and Resource Gaps

- Manufacturers need resources with in-depth cybersecurity knowledge to deal with new threats arising from digital transformation

- Some companies have shortcomings in their security culture and processes

- Requires specialized expertise to fully capture all relevant security aspects, similar to how clinical expertise is needed for safety risk identification

- Regulatory Transition Complexity

- The medical device legislation is transitioning from three former directives to two new regulations

- There are currently no harmonized standards against MDR or IVDR, creating uncertainty for manufacturers

- Lack of clear guidance on the appropriate set of standards to provide 'presumption of conformity'

- Post-Market Surveillance

- Cybersecurity threats are dynamic and change more rapidly than safety-related hazards

- Manufacturers need to:

  - Proactively identify new security vulnerabilities

  - Resolve vulnerabilities timely without compromising safety or compliance

  - Establish formal vulnerability disclosure processes

  - Create clear plans for recovery following cybersecurity incidents

- Balancing Safety and Security

- Implementing security controls requires careful consideration

- Both overly weak and overly restrictive security controls may lead to undesired safety impacts

- Requires transparency and explicit addressing of potential trade-offs between safety and security

## Practical Implications

The research suggests that:

- Cybersecurity is not just a technical issue but a comprehensive regulatory requirement

- Medical device manufacturers must integrate security considerations throughout the product lifecycle

- Ongoing monitoring and adaptability are crucial

## Limitations and Future Work

- Lack of harmonized standards creates uncertainty

- Need for more detailed guidance on implementing cybersecurity requirements

- Importance of continued research and standard development