### Detailed Explanation of Regulations and Guidance

#### European Union (EU) Framework:

- Medical Devices Regulation (MDR):

  - Replaced older directives (MDD and AIMDD) in 2021.

  - Focuses on the safety and performance of medical devices, with cybersecurity implications embedded in General Safety and Performance Requirements (GSPR) like:

    - Annex 1, Part 17.2: Requires devices to be "state of the art" in design and function.

    - Annex 1, Part 17.4: Mandates basic cybersecurity measures to ensure functioning.

  - Indirectly enforces cybersecurity by requiring that devices function safely even under cyberattacks.

- Network and Information Systems (NIS 2) Directive:

  - Applies to critical infrastructure, including healthcare.

  - Requires strategies and enforcement structures to secure networks, with challenges in harmonizing implementation across member states.

- Cyber Resilience Act (CRA) and Cyber Solidarity Act (CSA) (Proposed):

  - CRA introduces horizontal cybersecurity requirements, affecting software-heavy medical devices.

  - CSA proposes measures like the "European Cyber Shield" to improve coordinated responses to cyber incidents.

- General Data Protection Regulation (GDPR):

  - Governs personal data privacy, often overlapping with cybersecurity needs (e.g., encryption, access controls).

  - Limited to data-focused protections and not comprehensive for medical device security.

#### United States (US) Framework:

- FDA Oversight:

  - Uses section 201(h) of the Federal Food, Drug, and Cosmetics Act to regulate medical devices.

  - Employs guidance such as: "Cybersecurity in Medical Devices: Quality System Considerations and Content of Premarket Submissions."

  - Heavy reliance on ex-ante (pre-approval) reviews but limited post-market monitoring.

- 21st Century Cures Act:

  - Introduces cybersecurity as part of the functionality and reliability of medical devices.

  - Includes measures for software updates and security patching.

- Executive Order 14017:

  - Promotes transparency via Software Bills of Materials (SBMs) to track and verify device cybersecurity measures.

#### Great Britain (GB) Framework:

- Medical Devices Regulations 2002:

  - Still based on older EU directives (MDD and AIMDD), offering indirect cybersecurity considerations.

  - Lacks specific cybersecurity mandates, relying on general safety and essential requirements.

- Post-Brexit Divergence:

  - GB retains older regulatory standards, while Northern Ireland aligns with EU MDR.

  - Risks of non-alignment include challenges in exporting devices to the EU or US markets.

- Proposed Reforms:

  - UK Government consultation suggests incorporating cybersecurity as an essential requirement, but details are sparse.

### Current Problem

- Rapid digitization of medical devices exposes them to cyber threats.

- Existing laws indirectly address cybersecurity but lack specific provisions tailored to the complexity of medical devices.

- Patients face risks due to fragmented regulatory frameworks and inconsistent enforcement across jurisdictions.

### Framework Overlaps and Issues

- All jurisdictions depend heavily on guidance (non-binding).

- Cybersecurity provisions are indirectly implied through safety and performance requirements or data privacy laws.

- Scholars highlight significant gaps:

  - Roth critiques the FDA’s opaque decision-making and the risk of unregulated devices in the US.

  - Ludvigsen advocates for direct cybersecurity mandates across regions.

### Four Proposed Reforms

#### 1. Technology Specificity:

Explanation: Tailor laws to address unique cybersecurity challenges in medical devices.

Advantages:

  - Avoids reliance on outdated technologies.

  - Sets clear expectations for manufacturers.

Application:

  - Example: Mandating advanced encryption and secure communication protocols.

  - Inspired by MDR’s Annex 1 provisions for “state of the art” standards.

#### 2. Circumvention Protection:

Explanation: Prevent manufacturers from bypassing security requirements to cut costs.

Legal Principle:

Similar to anti-circumvention rules in the EU’s GSPR framework.

Importance:

Mitigates risks of poorly secured devices causing harm.

Scholar Support:

Ludvigsen emphasises the necessity of stricter enforcement mechanisms.

#### 3. Genuine Privacy:

Explanation: Integrate robust privacy protections within cybersecurity frameworks.

Proposed Measures:

- Mandating Privacy-Enhancing Technologies (PETs), such as homomorphic encryption.

- Enforcing access control and secure data handling protocols.

Overlap with Cybersecurity:

Ensures that patient data remains confidential while supporting system security.

#### 4. Security by Design:

Explanation: Embed cybersecurity into the lifecycle (from conception) of medical device development.

Advantages:

  - Reduces risks of design flaws.

  - Simplifies auditing and compliance checks.

Precedents:

  - Similar to GDPR’s “privacy by design” concept.

  - Proposed CRA requires "security by design" for IoT and networked devices.

### Cases and Regulations Cited

EU:

  - MDR Annex 1, GSPR Articles (Parts 17.2 and 17.4).

  - NIS 2 and GDPR.

US:

FDA guidance, 21st Century Cures Act.

UK:

Medical Devices Regulations 2002 and proposed consultation reforms.